SECTION 08 71 00.18

WEATHERSTRIPS, THESHOLDS AND DOOR BOTTOMS

Display hidden notes to specifier. (Don't know how? [Click Here](http://www.arcat.com/sd/display_hidden_notes.shtml))

\*\* NOTE TO SPECIFIER \*\* Reese Enterprises, Inc.; weatherstrips, door thresholds and door bottoms.  
This section is based on the products of Reese Enterprises, Inc., which is located at:  
16350 Asher Ave.  
P. O. Box 459  
Rosemount, MN 55068-0459  
Toll Free: 800-328-0953  
Phone: 651-423-1126  
Fax: 651-423-2662  
Fax: 800-334-8823  
Email: info@reeseusa.com  
Web: www.reeseusa.com  
click Herefor additional information  
Reese Enterprises, Inc. has more than 80 years of experience in manufacturing weatherstrips and thresholds along with many other door and floor products. During this time, we have invested time and money into product improvements, product development, research and testing to continue to offer the highest quality products to our customers. Our highest valued asset, however, is you - our customer. We are here to offer you quality products, superior customer service, and on time delivery.  
Reese Enterprises, Inc. offers the finest in weatherstrip, thresholds and entrance protection systems.

1. GENERAL
   1. SECTION INCLUDES
      1. Weatherstrips, thresholds, door bottoms and auxiliary products.
   2. RELATED SECTIONS

\*\* NOTE TO SPECIFIER \*\* Delete any sections below not relevant to this project; add others as required.

* + 1. Section 08 71 53 - Security Door Hardware.
  1. REFERENCES

\*\* NOTE TO SPECIFIER \*\* Delete references from the list below that are not actually required by the text of the edited section.

* + 1. ASTM International (ASTM):
       1. ASTM D2287: Standard Specification for Nonrigid Vinyl Chloride Polymer and Copolymer Molding and Extrusion Compounds.
       2. ASTM E152: Methods of Fire Tests of Door Assemblies.
    2. National Fire Protection Association (NFPA): NFPA 252 - Standard Methods of Fire Test for Door Assemblies.
    3. Underwriter's Laboratory (UL):
       1. UL 10B - Standard for Fire Tests of Door Assemblies.
       2. UL 10C - Standard for Positive Pressure Fire Tests of Door Assemblies.
       3. UL 1784 - Standard for Air Leakage Tests of Door Assemblies and Other Opening Protectives.

\*\* NOTE TO SPECIFIER \*\* Delete Article for Performance Requirements below, or individual paragraphs if not required.

* 1. SUBMITTALS
     1. Submit under provisions of Section 01 30 00 - Administrative Requirements.
     2. Product Data: Manufacturer's data sheets on each product to be used, including:
        1. Preparation instructions and recommendations.
        2. Maintenance instructions and recommendations.
  2. QUALITY ASSURANCE
     1. Manufacturer Qualifications: The manufacturer of products specified herein shall have a minimum 5 years of experience in the fabrication and installation of similar products.
     2. Installer Qualifications: The installer shall have a minimum 2 years of experience in the installation of products similar to those specified herein.
  3. DELIVERY, STORAGE, AND HANDLING
     1. Deliver, store and handle materials and products in strict compliance with manufacturer's instructions and recommendations.
     2. Store materials within absolute limits for temperature and humidity recommended by manufacturer. Protect from damage.
  4. PROJECT CONDITIONS
     1. Environmental Limitations: Do not deliver or install products until spaces are enclosed and weather tight, wet work in spaces is complete and dry, HVAC system is operating and maintaining ambient temperature at occupancy levels during the remainder of the construction period.
     2. Field Measurements: Verify field measurements as indicated on Shop Drawings. Where measurements are not possible, provide control dimensions and templates.
        1. Coordinate installation and location of blocking and supports as required.
        2. Verify openings, clearances, storage requirements and other dimensions relevant to the installation and final application.
  5. WARRANTY
     1. Provide manufacturer's standard limited warranty for products. All Reese products are guaranteed for five years against defects in material or workmanship.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable Manufacturer: Reese Enterprises, Inc., which is located at: 16350 Asher Ave. P. O. Box 459; Rosemount, MN 55068-0459; Toll Free Tel: 800-328-0953; Tel: 651-423-1126; Fax: 651-423-2662; Email:[request info (info@reeseusa.com)](http://admin.arcat.com/users.pl?action=UserEmail&company=Reese+Enterprises,+Inc.&coid=35128&rep=&fax=651-423-2662&message=RE:%20Spec%20Question%20(08720ree):%20%20&mf=); Web:[www.reeseusa.com](http://www.reeseusa.com)

\*\* NOTE TO SPECIFIER \*\* Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

* + 1. Substitutions: Not permitted.
    2. Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

\*\* NOTE TO SPECIFIER \*\* Delete Article for weatherstripping and auxiliary products if not required.

* 1. DOOR BOTTOMS AND AUXILIARY PRODUCTS
     1. Auxiliary Products for Use with Door Bottoms: As manufactured by Reese Enterprises, Inc.

\*\* NOTE TO SPECIFIER \*\* Fill in blank, duplicate or delete. If filling in blank, ALSO retain paragraph(s) below for corresponding product(s), selecting options/attributes therein. The first two options are suitable for very small projects only. Retain one of first four subparagraphs as applicable to project type/phase.

* + - 1. Product: Reese model number\_\_\_DB469\_\_\_\_\_\_\_\_, quantities, fasteners, lengths and locations as indicated on Drawings with attributes as specified below in this Article.

\*\* NOTE TO SPECIFIER \*\* Ordering fasteners only won't suffice for drilling. Delete two of three options.

* + - 1. Factory Drilling: As scheduled and indicated on Drawings.
      2. Factory Drilling: None, provide undrilled.
      3. Factory Drilling: Architect shall provide manufacturer with templates for factory drilled holes. Provide undrilled if Architect does not supply template.

\*\* NOTE TO SPECIFIER \*\* Delete product types listed below not required for project.

* + - 1. Door sweeps.

\*\* NOTE TO SPECIFIER \*\* IF, in paragraph above, one of the first two options for ' Product...' is selected, THEN, in paragraphs below, select options/attributes with multiple ' choices' as applicable to project type/phase; filling in blanks as applicable. This is only suitable for very small projects in which Architect prefers to specify products herein, instead of on schedules and/or the drawings. IF, in paragraph above, the third or fourth options (more common) are selected, THEN Option 1) Delete remaining paragraphs in this Article altogether or 2) Within remaining paragraphs in this Article, DELETE all subparagraphs for product options/attributes with MULTIPLE ' choices'; retain only subparagraphs for ' fixed' attributes at top.  
\*\* NOTE TO SPECIFIER \*\* Automatic Door bottoms are not designed to seal directly on carpet. For best results door bottoms should seal on a solid surface. The solid surface should be positioned above the level of the floor covering on either side of the door. Automatic door bottom sizes 18 inches to 24 inches (610 mm) cannot be trimmed. 36 inches (914 mm), 42 inches (1067 mm) and 48 inches (1219 mm) can be trimmed up to 3 inches (76 mm). Other sizes can be trimmed up to 1 inch (25 mm). Part 370 can be trimmed up to 2 inches (51 mm) in all sizes. When Reese No. 571 Automatic Door Bottom used in conjunction with Reese No. 599 Series Head and Jamb Seal, STC Rating of 46 can be achieved. Sound transmission loss ratings up to STC 50 have been achieved by several door manufacturers using the Reese No. 371 Series door bottom in conjunction with their sound rate door systems.

* + 1. Door Sweeps: As manufactured by Reese Enterprises, Inc.

\*\* NOTE TO SPECIFIER \*\* Small projects only: Fill in blank with model number AND then select from attributes listed with multiple ' choices'; duplicate or delete as applicable. Retain one of first two options.

* + - 1. Model Number: Reese Model \_\_\_DB469\_\_\_\_\_\_\_\_\_\_\_\_.

\*\* NOTE TO SPECIFIER \*\* If option below is selected, delete ALL remaining subparagraphs.

* + - 1. Materials: Aluminum, alloy 6063-T5, clear anodized finish.
      2. Materials: Aluminum, alloy 6063-T5, black anodized finish.
      3. Materials: Aluminum, alloy 6063-T5, gold anodized finish.
      4. Materials: Aluminum, alloy 6063-T5, dark bronze anodized finish.

\*\* NOTE TO SPECIFIER \*\* All models not available with all edge seals listed below. Consult with manufacturer's website, literature or reps for details. Delete options for edge seals not required.

* + - 1. Edge Seals: Vinyl, ASTM D2287 and CS230-60 compliant, black color.

1. EXECUTION
   1. EXAMINATION AND PREPARATION
      1. Verify that field measurements, surfaces, substrates and conditions are as required, and ready to receive Work.
      2. Prepare substrates using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.
      3. Do not proceed with installation until substrates have been properly prepared and deviations from manufacturer's recommended tolerances are corrected. Commencement of installation constitutes acceptance of conditions.
      4. If preparation is the responsibility of another installer, notify Architect in writing of deviations from manufacturer's recommended installation tolerances and conditions
   2. INSTALLATION
      1. Install units plumb, square, in proper alignment with adjacent construction and secured to substrate, within manufacturer's recommended tolerances. Comply with manufacturer's installation instructions and approved submittals.
   3. ADJUSTING
      1. Prior to installation, adjust components to within tolerances recommended by manufacturer.
      2. Adjust units and hardware so doors operate smoothly close with uniform frame alignment and seal compression.
   4. CLEANING AND PROTECTION
      1. Clean exposed surfaces. Touch up, refinish, or replace damaged components in a manner acceptable to Architect.
      2. Protect installed products until completion of project.
      3. Repair or replace defective work as directed by Architect upon inspection.

END OF SECTION